Inspect and document Chilled Water Service Connections by the following checklist.

| General |  |
| --- | --- |
| Project Name | Engineer of Record |
| Project Number | General Contractor |
| Project Manager | Mechanical Contractor |
| Lateral, Underground Piping, Tunnel Piping |  |
| Records Review Initial Date Chilled Water flow modeled and reviewed _________ Welding Certificates meet requirements and on file _________ ANSI/ASME B31.1 piping stress analysis submission reviewed and on file _________ Weld Non Destructive Test reports reviewed and on file _________ Hydrostatic test records complete/filed _________ Pipe materials Material Test Records on file and meet specification _________ A/E Review/Authorization to put in service received _________ Commissioning Agent Authorization to put in service received (if applicable) _________ Chilled Water Pipe flushing and cleaning procedures submitted and approved _________ Seismic design submitted _________ Post Start-up and Warm-up Inspection Verify slides and guides operated as predicted and insulation has not been damaged by expansion Service test and no observed leaks Pressure/temperature gauges and metered flow in expected range | General Inspection Equipment locks and tag-out have been turned over to Utilities Construction materials and worksite has been cleaned up Piping re-filled and treated after hydro-test Mechanical, Piping Field Inspection Confirm piping installation matches thermal stress analysis Confirm pipe size matches installation drawings and model Confirm that all pipe supports and bolting are in place per plan Inspect anchor supports, bolting and welds Wall penetrations have adequate room for expansion Gaskets meet specification Inspect valves, gauges and y-strainers Inspect valve gear boxes for lubrication Confirm that all equipment tags & labels are installed Inspect meter installation Verify meter configuration programming and communications Confirm that specified insulation is installed on piping and valves Piping seals through structural penetrations not leaking Insulation & jacketing installed |
| Comments |  |
| BDS Div Compliance. yes no, state reason: |  |
| Signatures |  |
| Inspected by Date | Reviewed and Approved (with conditions) by Date |
| Final inspection (if conditionally approved) by Date | Final Review and Approval by Date |
| Energized by Date | cc: Distribution Manager, Shop Supervisor, OSU Utilities Project Representative |