## Solicitation Information
Solicitation Information
Agency: | The Ohio State University
Number: | OSU-240504-2 - Airport - Airfield Lighting Improvements REBID
Description: | BASE BID: This project will be the construction of a new airfield lighting vault adjacent to Runway 5-23 in the midfield of the airport. All existing airfield lighting infrastructure to be intercepted and routed to the new building. ADDITIVE ALTERNATES: Three (3) additive alternates will be the rehabilitation of Taxiway A lighting, rehabilitation of Runway 9R-27L lighting, and replacement of priority 1 guidance signs.
Deadline: | 2026-06-22 18:00:00 UTC
Location(s):
2160 W Case Rd, Columbus, Ohio, 43235

## Bidders
Bidders
Business Name | Address | Phone
J. Ranck Electric, Inc. | 1993 Gover Pkwy, Mt Pleasant, MI 48858-8137 | (989) 775-7393

## Item Lists
Project Number: OSU-240540-2
Project Name: Airport - Airfield Lighting Improvements
Date: 06/22/26
Time: 2:00PM
J. Ranck Electric, Inc.
Item | Estimate | Quantity | Price | Extension
Allowances (General Contract)
Allowance A-1 - E-100 AEP ENERGY – NEW SERVICE FOR AIRFIELD LIGHTING VAULT, COMPLETE - ALLOWANCE |  | 1 | 20000 | 20000
Unit Prices (General Contract)
Unit Price U-1 - G-102 SAFETY AND SECURITY - Lump Sum |  | 1 | 220000 | 220000
Unit Price U-2 - G-104 PROJECT SURVEY AND STAKEOUT - Lump Sum |  | 1 | 10000 | 10000
Unit Price U-3 - G-105 TEMPORARY CONSTRUCTION ITEMS - Lump Sum |  | 1 | 125000 | 125000
Unit Price U-4 - C-100 CONTRACTOR QUALITY CONTROL PROGRAM - Lump Sum |  | 1 | 6000 | 6000
Unit Price U-5 - C-102 INSTALLATION AND REMOVAL OF SILT FENCE - Linear Feet |  | 6300 | 3 | 18900
Unit Price U-6 - C-105 MOBILIZATION - Lump Sum |  | 1 | 339000 | 339000
Unit Price U-7 - P-152 UNCLASSIFIED EXCAVATION - Cubic Yard |  | 70 | 70 | 4900
Unit Price U-8 - P-209 CRUSHED AGGREGATE 6” - Square Yard |  | 90 | 80 | 7200
Unit Price U-9 - P-209 CRUSHED AGGREGATE 12” - Square Yard |  | 90 | 160 | 14400
Unit Price U-10 - L-108 NO. 8 AWG, 5KV, L-824, TYPE C CABLE, INSTALLED IN TRENCH, DUCT BANK OR CONDUIT - Linear Feet |  | 40000 | 2 | 80000
Unit Price U-11 - L-108 NO. 6 AWG, SOLID, BARE, COPPER COUNTERPOISE WIRE, INSTALLED ABOVE THE DUCT BANK OR CONDUIT - Linear Feet |  | 900 | 2.5 | 2250
Unit Price U-12 - L-109 AIRFIELD ELECTRICAL VAULT - Lump Sum |  | 1 | 525000 | 525000
Unit Price U-13 - L-109 AIRFIELD ELECTRICAL VAULT MECHANICAL AND ELECTRICAL EQUIPMENT, COMPLETE - Lump Sum |  | 1 | 306000 | 306000
Unit Price U-14 - L-109 STANDBY GENERATOR AND EQUIPMENT - Lump Sum |  | 1 | 150000 | 150000
Unit Price U-15 - L-109 CONSTANT CURRENT REGULATORS - Each |  | 10 | 25500 | 255000
Unit Price U-16 - L-110 AIRFIELD LIGHTING DUCT BANK, 4-4”, DIRECT BURIED - Linear Feet |  | 900 | 135 | 121500
Unit Price U-17 - L-110 AIRFIELD LIGHTING DUCT BANK, 4-4”, DIRECTIONAL DRILLED - Linear Feet |  | 480 | 100 | 48000
Unit Price U-18 - L-115 AIRFIELD ELECTRICAL HANDHOLE, H20 RATED, 4’ X 4’ X 4’ - Each |  | 4 | 12500 | 50000
Unit Price U-19 - L-128 L-890 AIRFIELD LIGHTING CONTROL AND MONITORING SYSTEM (ALCMS), COMPLETE - Lump Sum |  | 1 | 180000 | 180000
Unit Price U-20 - L-190 COMMUNICATIONS DUCT BANK, 2-4”, DIRECT BURIED - Linear Feet |  | 250 | 120 | 30000
Unit Price U-21 - L-190 COMMUNICATIONS HANDHOLE, H20 RATED, 4’ X 4’ X 4’ - Each |  | 1 | 12500 | 12500
Unit Price U-22 - L-190 12-STRAND, SINGLEMODE, LOOSE TUBE, FIBER OPTIC CABLE, ALCMS COMM - Linear Feet |  | 3000 | 5.25 | 15750
Unit Price U-23 - L-190 1/0 AWG, STRANDED, BARE, COPPER GUARD WIRE, INSTALLED ABOVE THE DUCT BANK OR CONDUIT - Linear Feet |  | 250 | 15 | 3750
Unit Price U-24 - T-901 SEEDING - Acre |  | 4 | 2000 | 8000
Unit Price U-25 - T-908 MULCHING - Acre |  | 4 | 2000 | 8000
Unit Price U-26 - NO. 8 AWG, 5KV, L-824, TYPE C CABLE, INSTALLED IN TRENCH, DUCT BANK OR CONDUIT – ADD ALT 1 - Linear Feet |  | 38000 | 3.25 | 123500
Unit Price U-27 - REMOVE CABLE – ADD ALT 1 - Linear Feet |  | 38000 | 1 | 38000
Unit Price U-28 - INSTALL NEW ELEVATED MITL (LED) ON EXISTING BASE – ADD ALT 1 - Each |  | 235 | 800 | 188000
Unit Price U-29 - REMOVE EXISTING TAXIWAY EDGE LIGHTS – ADD ALT 1 - Each |  | 235 | 125 | 29375
Unit Price U-30 - INSTALL GUIDANCE SIGN (LED) ON EXISTING FOUNDATION – ADD ALT 1 - Each |  | 29 | 3900 | 113100
Unit Price U-31 - REMOVE EXISTING SIGN – ADD ALT 1 - Each |  | 29 | 475 | 13775
Unit Price U-32 - INSTALL NEW ELEVATED RUNWAY GUARD LIGHT (LED) ON EXISTING BASE – ADD ALT 1 - Each |  | 4 | 5750 | 23000
Unit Price U-33 - REMOVE EXISTING ELEVATED RUNWAY GUARD LIGHT – ADD ALT 1 - Each |  | 4 | 475 | 1900
Unit Price U-34 - REMOVE EXISTING CONCRETE PAD – ADD ALT 1 - Each |  | 4 | 1100 | 4400
Unit Price U-35 - NO. 8 AWG, 5KV, L-824, TYPE C CABLE, INSTALLED IN TRENCH, DUCT BANK OR CONDUIT – ADD ALT 2 - Linear Feet |  | 15500 | 2.5 | 38750
Unit Price U-36 - REMOVE CABLE – ADD ALT 2 - Linear Feet |  | 16600 | 0.5 | 8300
Unit Price U-37 - REMOVE DUCT – ADD ALT 2 - Linear Feet |  | 600 | 5 | 3000
Unit Price U-38 - L-861(L) RUNWAY EDGE LIGHT – BASE MOUNTED ON EXISTING BASE – ADD ALT 2 - Each |  | 45 | 1000 | 45000
Unit Price U-39 - L-861E(L) BID-DIRECTIONAL RED/GREEN, THRESHOLD LIGHT – BASE MOUNTED ON EXISTING BASE – ADD ALT 2 - Each |  | 16 | 1175 | 18800
Unit Price U-40 - REMOVE EXISTING RUNWAY/THRESHOLD LIGHT – ADD ALT 2 - Each |  | 59 | 125 | 7375
Unit Price U-41 - INSTALL GUIDANCE SIGN (LED) ON EXISTING FOUNDATION – ADD ALT 2 - Each |  | 23 | 4450 | 102350
Unit Price U-42 - REMOVE EXISTING SIGN – ADD ALT 2 - Each |  | 23 | 475 | 10925
Unit Price U-43 - INSTALL GUIDANCE SIGN (LED) ON EXISTING FOUNDATION – ADD ALT 3 - Each |  | 15 | 4000 | 60000
Unit Price U-44 - REMOVE EXISTING SIGN – ADD ALT 3 - Each |  | 15 | 475 | 7125
Unit Price U-45 - NO. 8 AWG, 5KV, L-824, TYPE C CABLE, INSTALLED IN TRENCH, DUCT BANK OR CONDUIT – ADD ALT 3 - Linear Feet |  | 3800 | 3 | 11400
Unit Price U-46 - REMOVE CABLE – ADD ALT 3 - Linear Feet |  | 3800 | 1 | 3800
Unit Price U-47 - REMOVE EXISTING CONCRETE PAD – ADD ALT 3 - Each |  | 6 | 1100 | 6600
Base Bid (General Contract)
Base Bid - All Labor and Materials (including Allowances and Unit Price Extensions above) | 2609900 | 1 | 2541150 | 2541150
Alternates (General Contract)
Alternate 1 - Taxiway A Lighting Rehabilitation | 816000 | 1 | 535050 | 535050
Alternate 2 - Runway 9R-27L Lighting Rehabilitation | 394600 | 1 | 234500 | 234500
Alternate 3 - Airfield Priority 1 Signs | 143100 | 1 | 88925 | 88925