## Solicitation Information
Solicitation Information
Agency: | The Ohio State University
Number: | OSU-240504-2 Airport - Airfield Lighting Improvements
Description: | This project will be the construction of a new airfield lighting vault adjacent to Runway 5-23 in the midfield of the airport. All existing airfield lighting infrastructure to be intercepted and routed to the new building
Deadline: | 2026-05-06 18:00:00 UTC
Location(s): | 2160 W Case Rd, Columbus, Ohio, 43235

## Bidders
Bidders
Business Name | Address | Phone
J. Ranck Electric, Inc. | 1993 Gover Pkwy, Mt Pleasant, MI 48858-8137 | (989) 775-7393

## Item Lists
Project Number: OSU-240540-2
Project Name: Airport - Airfield Lighting Improvements
Date: 05/06/2026
Time: 2:00PM
J. Ranck Electric, Inc.
Item | Quantity | Estimate | Bid
Allowances (General Contract)
Allowance A-1 - E-100 AEP ENERGY – NEW SERVICE FOR AIRFIELD LIGHTING VAULT, COMPLETE - ALLOWANCE | 1 |  | 20000
Unit Prices (General Contract)
Unit Price U-1 - G-102 SAFETY AND SECURITY - Lump Sum | 1 |  | 220000
Unit Price U-2 - G-104 PROJECT SURVEY AND STAKEOUT - Lump Sum | 1 |  | 10000
Unit Price U-3 - G-105 TEMPORARY CONSTRUCTION ITEMS - Lump Sum | 1 |  | 125000
Unit Price U-4 - C-100 CONTRACTOR QUALITY CONTROL PROGRAM - Lump Sum | 1 |  | 6000
Unit Price U-5 - C-102 INSTALLATION AND REMOVAL OF SILT FENCE - Linear Feet | 6300 |  | 3
Unit Price U-6 - C-105 MOBILIZATION - Lump Sum | 1 |  | 345000
Unit Price U-7 - P-152 UNCLASSIFIED EXCAVATION - Cubic Yard | 70 |  | 70
Unit Price U-8 - P-209 CRUSHED AGGREGATE 6” - Square Yard | 90 |  | 80
Unit Price U-9 - P-209 CRUSHED AGGREGATE 12” - Square Yard | 90 |  | 160
Unit Price U-10 - L-108 NO. 8 AWG, 5KV, L-824, TYPE C CABLE, INSTALLED IN TRENCH, DUCT BANK OR CONDUIT - Linear Feet | 40000 |  | 2
Unit Price U-11 - L-108 NO. 6 AWG, SOLID, BARE, COPPER COUNTERPOISE WIRE, INSTALLED ABOVE THE DUCT BANK OR CONDUIT - Linear Feet | 900 |  | 2.5
Unit Price U-12 - L-109 AIRFIELD ELECTRICAL VAULT - Lump Sum | 1 |  | 575000
Unit Price U-13 - L-109 AIRFIELD ELECTRICAL VAULT MECHANICAL AND ELECTRICAL EQUIPMENT, COMPLETE - Lump Sum | 1 |  | 300000
Unit Price U-14 - L-109 STANDBY GENERATOR AND EQUIPMENT - Lump Sum | 1 |  | 187500
Unit Price U-15 - L-109 CONSTANT CURRENT REGULATORS - Each | 10 |  | 25500
Unit Price U-16 - L-110 AIRFIELD LIGHTING DUCT BANK, 4-4”, DIRECT BURIED - Linear Feet | 900 |  | 135
Unit Price U-17 - L-110 AIRFIELD LIGHTING DUCT BANK, 4-4”, DIRECTIONAL DRILLED - Linear Feet | 480 |  | 100
Unit Price U-18 - L-115 AIRFIELD ELECTRICAL HANDHOLE, H20 RATED, 4’ X 4’ X 4’ - Each | 4 |  | 12500
Unit Price U-19 - L-128 L-890 AIRFIELD LIGHTING CONTROL AND MONITORING SYSTEM (ALCMS), COMPLETE - Lump Sum | 1 |  | 180000
Unit Price U-20 - L-190 COMMUNICATIONS DUCT BANK, 2-4”, DIRECT BURIED - Linear Feet | 250 |  | 120
Unit Price U-21 - L-190 COMMUNICATIONS HANDHOLE, H20 RATED, 4’ X 4’ X 4’ - Each | 1 |  | 12500
Unit Price U-22 - L-190 12-STRAND, SINGLEMODE, LOOSE TUBE, FIBER OPTIC CABLE, ALCMS COMM - Linear Feet | 3000 |  | 5.25
Unit Price U-23 - L-190 1/0 AWG, STRANDED, BARE, COPPER GUARD WIRE, INSTALLED ABOVE THE DUCT BANK OR CONDUIT - Linear Feet | 250 |  | 10
Unit Price U-26 - T-901 SEEDING - Acre | 4 |  | 2000
Unit Price U-27 - T-908 MULCHING - Acre | 4 |  | 2000
Unit Price U-28 - NO. 8 AWG, 5KV, L-824, TYPE C CABLE, INSTALLED IN TRENCH, DUCT BANK OR CONDUIT – ADD ALT 1 - Linear Feet | 38000 |  | 3.25
Unit Price U-29 - REMOVE CABLE – ADD ALT 1 - Linear Feet | 38000 |  | 1
Unit Price U-30 - INSTALL NEW ELEVATED MITL (LED) ON EXISTING BASE – ADD ALT 1 - Each | 235 |  | 800
Unit Price U-31 - REMOVE EXISTING TAXIWAY EDGE LIGHTS – ADD ALT 1 - Each | 235 |  | 125
Unit Price U-32 - INSTALL GUIDANCE SIGN (LED) ON EXISTING FOUNDATION – ADD ALT 1 - Each | 29 |  | 3900
Unit Price U-33 - REMOVE EXISTING SIGN – ADD ALT 1 - Each | 29 |  | 475
Unit Price U-34 - INSTALL NEW ELEVATED RUNWAY GUARD LIGHT (LED) ON EXISTING BASE – ADD ALT 1 - Each | 4 |  | 5750
Unit Price U-35 - REMOVE EXISTING ELEVATED RUNWAY GUARD LIGHT – ADD ALT 1 - Each | 4 |  | 475
Unit Price U-36 - REMOVE EXISTING CONCRETE PAD – ADD ALT 1 - Each | 4 |  | 1100
Unit Price U-37 - NO. 8 AWG, 5KV, L-824, TYPE C CABLE, INSTALLED IN TRENCH, DUCT BANK OR CONDUIT – ADD ALT 2 - Linear Feet | 15500 |  | 2.5
Unit Price U-38 - REMOVE CABLE – ADD ALT 2 - Linear Feet | 16600 |  | 0.5
Unit Price U-39 - REMOVE DUCT – ADD ALT 2 - Linear Feet | 600 |  | 5
Unit Price U-40 - L-861(L) RUNWAY EDGE LIGHT – BASE MOUNTED ON EXISTING BASE – ADD ALT 2 - Each | 45 |  | 1000
Unit Price U-41 - L-861E(L) BID-DIRECTIONAL RED/GREEN, THRESHOLD LIGHT – BASE MOUNTED ON EXISTING BASE – ADD ALT 2 - Each | 16 |  | 1175
Unit Price U-42 - REMOVE EXISTING RUNWAY/THRESHOLD LIGHT – ADD ALT 2 - Each | 59 |  | 125
Unit Price U-43 - INSTALL GUIDANCE SIGN (LED) ON EXISTING FOUNDATION – ADD ALT 2 - Each | 23 |  | 4450
Unit Price U-44 - REMOVE EXISTING SIGN – ADD ALT 2 - Each | 23 |  | 475
Unit Price U-45 - INSTALL GUIDANCE SIGN (LED) ON EXISTING FOUNDATION – ADD ALT 3 - Each | 15 |  | 4000
Unit Price U-46 - REMOVE EXISTING SIGN – ADD ALT 3 - Each | 15 |  | 475
Unit Price U-47 - NO. 8 AWG, 5KV, L-824, TYPE C CABLE, INSTALLED IN TRENCH, DUCT BANK OR CONDUIT – ADD ALT 3 - Linear Feet | 3800 |  | 3
Unit Price U-48 - REMOVE CABLE – ADD ALT 3 - Linear Feet | 3800 |  | 1
Unit Price U-49 - REMOVE EXISTING CONCRETE PAD – ADD ALT 3 - Each | 6 |  | 1100
Base Bid (General Contract)
Base Bid - All Labor and Materials (including Allowances and Unit Price Extensions above) | 1593000 |  | 3505875
Alternates (General Contract)
Alternate 1 - Taxiway A Lighting Rehabilitation | 789000 |  | 535050
Alternate 2 - Runway 9R-27L Lighting Rehabilitation | 340000 |  | 234500
Alternate 3 - Airfield Priority 1 Signs | 157000 |  | 88925